## Slide 1: A brief comparison between Liberia and Malaysia effluent discharge regulations
Course: Water Treatment Technology Name: Sahr Emmanuel (伊曼沙)
ID#: M202161014

## Slide 2: Introduction
Industrial effluent means any waste in the form of liquid or wastewater generated from manufacturing process including the treatment of water for water supply or any activity occurring at any industrial premises;
Industrial Effluent Treatment Systems: any facility including the effluent collection system, designed and constructed for the purpose of reducing the potential of the industrial effluent or mixed effluent to cause pollution.

## Slide 3: Environment Protection and Management Law of the Republic of Liberia
AN ACT ADOPTING THE ENVIRONMENT PROTECTION AND MANAGEMENT LAW OF THE REPUBLIC OF LIBERIA-
April 30, 2003
This Act establishes a legal framework for the sustainable development, management and protection of the environment by the Environment Protection Agency in partnership with regulated Ministries and organizations and in a close and responsive relationship with the people of Liberia; and to provide high quality information and advice on the state of the environment and for matters connected therewith.

## Slide 4: Liberia Effluent Discharge standard
Parameter | AllowableLimits (max)
Arsenic (mg/l) | 0.02
Arsenic and its compounds (mg/l) | 0.1
Benzene (mg/l) | 0.1
Biochemical Oxygen Demand (BOD 5days at 20 oC) (mg/l) | 30
Boron (mg/l) | 1.0
Boron and its compounds – non marine (mg/l) | 10
Boron and its compounds –marine (mg/l) | 30
Cadmium (mg/l) | 0.01
Cadmium and its compounds (mg/l) | 0.1
Carbon tetrachloride | 0.02
Chemical Oxygen Demand (COD (mg/l) | 50
Chromium VI (mg/l) | 0.05
Chloride (mg/l) | 250
Chromium total | 2
cis –1,2- dichloro ethylene | 0.4
Total Dissolved solids (mg/l) | 1200
Dichloromethane (mg/l) | 0.2
Dissolved iron (mg/l) | 10
Dissolved Manganese(mg/l) | 10
Fluoride (mg/l) | 1.5
Fluoride and its compounds (marine and non-marine) (mg/l) | 8
Lead (mg/l) | 0.01
n-Hexane extracts (animal and vegetable fats) (mg/l) | 30
n-Hexane extracts (mineral oil) (mg/l) | 5
Organo-Phosphorus compounds (parathion,methyl parathion,methyl demeton and Ethyl parantrophenylphenylphosphorothroate, EPN only) (mg/l) | 1.0
Polychlorinated biphenyls, PCBs (mg/l) | 0.003
pH ( Hydrogen ion activity marine) | 5.0-9.0
pH ( Hydrogen ion activity--non marine) | 5-8.5
Phenols (mg/l) | 0.001

## Slide 5
Industry/Factory | Plastics & Synthetics | Soap & Detergents | Fertiliser Manufacturing | Petroleum Refining | Iron & Steel Manufacturing | Sugar Processing | Textiles | Cement | Electroplating | Organic Chemicals | Inorganic Chemicals | Gas and Oil | Dairy Products | Grain Mills | Canned Fruits & Vegetables | Canned & Preserved Sea Foods | Non Ferrous | Phosphate Manufacturing | Steam Electric Power Generating
Water quality parameters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
BOD | x | x | x | x |  | x | x |  |  | x | x | x | x | x | x | x |  |  | 
TSS | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x | x | x | x | x
pH | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Faecal Coliforms | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Oil & Grease |  | x |  | x | x |  | x |  |  | x |  | x |  |  |  | x | x | x | x
Temperature | x | x |  | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x | x
COD | x | x |  | x |  | x | x |  |  | x | x |  |  |  |  |  | x |  | 
Colour/Dye/Pigment | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Elemental Phosphorus |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | x | 
Total Phosphorus |  |  | x |  |  | x |  |  | x |  |  |  |  |  |  |  |  | x | x
Ammonia (as N) |  |  | x | x | x |  |  |  |  |  | x |  |  |  |  |  | x |  | 
Flow | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
Phenols | x |  |  | x | x |  | x |  |  | x |  |  |  |  |  |  |  |  | 
Sulphide |  |  |  | x | x |  | x |  |  |  |  |  |  |  |  |  |  |  | 
Total Chromium |  |  |  | x |  |  | x |  | x |  | x |  |  |  |  |  |  |  | 
Chromium VI |  |  |  | x |  |  |  |  | x |  | x |  |  |  |  |  |  |  | x
Chrome |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Copper | x |  |  |  |  |  |  |  | x |  | x |  |  |  |  |  |  |  | x
Nickel |  |  |  |  |  |  |  |  | x |  | x |  |  |  |  |  |  |  | 
Zinc | x |  |  |  | x |  |  |  | x |  |  |  |  |  |  |  |  |  | x
Zinc |  |  |  |  |  |  |  |  |  |  | x |  |  |  |  |  |  |  | 
Cadmium |  |  |  |  | x |  |  |  | x |  | x |  |  |  |  |  |  |  | 
Environmental Monitoring

## Slide 6: ENVIRONMENTAL QUALITY (INDUSTRIAL EFFLUENT) REGULATIONS 2009
In exercise of the powers conferred by sections 21,24, 25 and 51 of the Environmental Quality Act 1974 [Act 127], the Minister, after consultation with the Environmental Quality Council, makes the following regulations:Citation
1. These regulations may be cited as the Environmental Quality (IndustrialEMuent) Regulations 2009.
Interpretation
2. In these Regulations—“best management practices" means practical, structural or non-structural methods for the purpose of preventing or reducing the discharge of industrial effluent or mixed effluent containing contaminants;
Application
3. These Regulations shall apply to any premises which discharge or release industrial effluent or mixed effluent, onto or into any soil, or into inland waters or Malaysian waters, other than the premises as specified in the First Schedule.

## Slide 7: FIRST SCHEDULE (Regulation 3) LIST OF PREMISES TO WHICH THESE REGULATIONS Do NOT APPLY
1. Processing of oil-palm fruit or oil-palm fresh fruit bunches into crude palm oil,whether as an intermediate or final product
2. Processing of natural rubber in technically specified form, latex form including prevulcanised or the form of modified and special purpose rubber, conventional sheet, skim, crepe or scrap rubber
3. Mining activities
4. Processing, manufacturing, washing or servicing of any other products or goods that produce industrial effluent or mixed effluent of less than 60 cubic meters per day
5. Processing, manufacturing, washing or servicing of any other products or goods that produce industrial effluent or mixed effluent of which does not contain oil and grease or those contaminants listed as parameters (v) to (xv) in the first column of the Fifth Schedule
6. Processing, manufacturing, washing or servicing of any other products or goods where the total load of biochemical oxygen demand (BOD, at 20'C) or suspended solids or both, shall not exceed 6 kilogrammes per day (concentration of 100 milligrammes per litre)

## Slide 8: Malaysia allowable municipal Effluent Discharge - 4031 P.U. (A) 434
Parameter | Unit | Standard | 
 |  | A | B
(1) | (2) | (3) | (4)
Temperature | °C | 40 | 40
pH Value | - | 6.0-9.0 | 5.5-9.0
BOD5 at 20°C | mg/L | 20 | 50
Total Suspended Solids | mg/L | 50 | 100
Mercury | mg/L | 0.005 | 0.05
Cadmium | mg/L | 0.01 | 0.02
Chromium, Hexavalent | mg/L | 0.05 | 0.05
Chromium, Trivalent | mg/L | 0.20 | 1.0
Arsenic | mg/L | 0.05 | 0.10
Cyanide | mg/L | 0.05 | 0.10
Lead | mg/L | 0.10 | 0.5
Copper | mg/L | 0.20 | 1.0
Manganese | mg/L | 0.20 | 1.0
Nickel | mg/L | 0.20 | 1.0
Tin | mg/L | 0.20 | 1.0
Zinc | mg/L | 2.0 | 2.0
Boron | mg/L | 1.0 | 4.0
Iron (Fe) | mg/L | 1.0 | 5.0
Silver | mg/L | 0.1 | 1.0
Aluminium | mg/L | 10 | 15
Selenium | mg/L | 0.02 | 0.5
Barium | mg/L | 1.0 | 2.0
Fluoride | mg/L | 2.0 | 5.0
Formaldehyde | mg/L | 1.0 | 2.0
Phenol | mg/L | 0.001 | 1.0
Free Chlorine | mg/L | 1.0 | 2.0
Sulphide | mg/L | 0.50 | 0.50
Oil and Grease | mg/L | 1.0 | 10
Ammoniac al Nitrogen | mg/L | 10 | 20